F Y I
1. Owner will supply all cabinets - wall as well as below counter cabinets .
2. Owner will supply Treatment tables as well as Front reception counter .
3 . Elevator is for future build out , not in this project .Just build the elevator shaft with hoist beam and provide all connections as per MEP drawings .
4. No color or manufacturer for ceramic tile or VCT decided yet but will be standard / most economical  with contemporary color/ look .
5. No tint on windows , base model/ colors .
6. Color for EFIS / split face CMU or smooth face block not decided yet , looking for modern look with light colors .Suggestions welcome !
7. Owner will apply for signage and get it done from a sign company . Please provide connections/ accommodations  as per drawings .
8. X-ray room does not need lead lining . It needs DOUBLE  dry wall only .
9. No owner-supplied equipment installation .
10. Owner will supply washer dryer ,refrigerator , freezer etc . Washer dryer needs to be stacked / hooked . 11. Owner will supply Anesthesia Scavenger system .