Section 07240

Specification A800

StoTherm™ RainScreen II

(This specification is intended for use by the design professional/specifier and user of Sto products to assist in developing project specifications for the application of a StoTherm™ RainScreen II, a Class PB Exterior Insulation and Finish System (EIFS) with drainage, on wall construction.  Notes in italics, such as this one, are explanatory and intended to guide the design professional/specifier and user in the proper selection and use of materials.  Although the system is designed to drain incidental moisture that may enter through windows, doors, flashings or other components of the wall construction, it is not a substitute for proper design, construction and performance of these components which should always perform without leakage into the wall construction.  This specification should be modified where necessary to accommodate individual project conditions).

Part 1 GENERAL

1.01 SECTION INCLUDES

A. Materials and installation of Class PB EIFS with drainage.

1.02 RELATED SECTIONS (add/delete, depending on specific project requirements)

A. Section 03300: Cast-In-Place Concrete

B. Section 04200: Unit Masonry

C. Section 06115: Sheathing

D. Section 07190: Vapor Barriers

E. Section 07195: Air Barriers

F. Section 07620: Sheet Metal Flashing and Trim

G. Section 07650: Flexible Flashing

H. Section 07920: Sealants and Caulking

I. Section 09200:   Lath and Plaster

J. Section 09260: Gypsum Board Systems

1.03 REFERENCED DOCUMENTS (add/delete depending on specific project requirements)

A. ASTM Standards:

1. B 117 	Test Method for Salt Spray (Fog) Testing

2. C 67 	Method of Sampling and Testing Brick and Structural Clay Tile

3. C 79 	Test Method for Gypsum Sheathing Board

4. C 150 	Specification for Portland Cement

5. C 297 	Test Method for Tensile Strength of Flat Sandwich Constructions in Flatwise Plane

6. C 578 	Specification for Preformed, Cellular Polystyrene Thermal Insulation

7. D 968 	Test Method for Abrasion Resistance of Organic Coatings by Falling Abrasive

8. D 1784  Specification for Rigid Polyvinyl Chloride (PVC) Compounds and Chlorinated Polyvinyl Chloride (CPVC) Compounds

9. D 2247 	Practice for Testing Water Resistance of Coatings in 100% Relative Humidity

10.  D 3273 	Test for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber

11.  E 84 	Test Method for Surface Burning Characteristics of Building Materials

12.  E 330 	Test Method for Structural Performance of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference

13.  E 331 	Test Method for Water Penetration of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference

14.  G 23 	Recommended Practice for Operating Light- and Water-Exposure Apparatus (Carbon-Arc Type) for Exposure of Nonmetallic Materials

15.  G 53 	Recommended Practice for Operating Light- and Water-Exposure Apparatus	(Fluorescent UV-Condensation Type) for Exposure of Nonmetallic Materials

B. 	EIMA (EIFS Industry Members Association) Standards and Publications

1. 101.01 Standard Test Method for Freeze-Thaw Resistance of Exterior Insulation and Finish Systems (EIFS), Class PB (Modified ASTM C-67)

2. 101.02 Standard Test Method for Resistance to Water Penetration of Exterior Insulation and Finish Systems (EIFS), Class PB (Modified ASTM E-331)

3. 101.03 Standard Test Method for Determining Tensile Adhesion Strength of Exterior Insulation and Finish System (EIFS), and Components, Class PB (Modified ASTM C-297)

4. 101.86 Standard Test Method for Resistance of Exterior Insulation and Finish Systems (EIFS), Class PB, to the Effects of Rapid Deformation (Impact)

5. 105.01 Standard Test Method for Alkali Resistance of Glass Fiber Reinforcing Mesh for Use in Exterior Insulation and Finishing Systems (EIFS), Class PB

6. 300.01 Standard Test Method for Determining Tensile Adhesion Properties of Sealants when used with Exterior Insulation and Finish Systems (EIFS), Class PB

7. EIMA Guide for use of Sealants With Exterior Insulation and Finish Systems (EIFS), Class PB

8. EIMA Guideline Specification for Exterior Insulation and Finish Systems (EIFS), Class PB

9. EIMA Guideline Specification for Expanded Polystyrene (EPS) Insulation Board

C. Gypsum Association

1. GA-600 Fire Resistance Design Manual

2. GA-253 Application of Gypsum Sheathing

3. GA-254 Fire Resistant Gypsum Sheathing

D. American Plywood Association

1. J20G Grades and Specifications Guide

2. PS 2-92 Performance Standard for Wood-Based Structural Use Panels

E. Proprietary Specifications

1. A468 Georgia-Pacific Corporation, "Dens Glass Gold Sheathing"

2. C & I 2000 Cerny & Ivey Test Method 200 for Drainage Performance of 	  	                Exterior Finish Systems

1.04 	DESIGN REQUIREMENTS

A. Design for maximum allowable system deflection, normal to the plane of the wall, ofL/240.

B. Design for wind load in conformance with code requirements.

C. Prevent the accumulation of excess water behind the system, either by condensation or leakage through the wall construction, in the design and detailing of the wall assembly.

D. Indicate areas with impact resistance other than “standard” on contract drawings.

E. Select finish coat with a lightness value of 20 or greater. (The use of dark colors is not recommended with EIF Systems that incorporate polystyrene insulation board).

F. Design minimum 3/4 inch (19 mm) wide expansion joints in the EIFS where they exist in the substrate or supporting construction; where the EIFS adjoins dissimilar construction materials; at areas of anticipated structural or building movement (such as changes in building height; and at floorlines in multi-level wood-frame construction.

G. Design minimum 1/2 inch (13 mm) wide sealant joints at penetrations through the EIFS (windows, doors, etc.).

H. Specify compatible backer rod and sealant in accordance with "EIMA Guide for Use of Sealants with Exterior Insulation and Finish Systems (EIFS), Class PB". Specify sealant in compliance with minimum 50% elongation requirement before and after conditioning when tested in accordance with EIMA Standard 300.01.

I.  Do not specify EIFS for use on surfaces subject to continuous or intermittent water immersion or hydrostatic pressure. For below grade applications and sloped surfaces, specify Sto Flexyl (see Addendum I).

J.  Sloped surfaces: minimum slope is 1:2 (27 degrees) and maximum width is 12 inches (300 mm). Sto Mesh embedded in Sto Flexyl is required beneath finish coating for build-outs greater than 2 inches (51 mm). Increase slope for northern climates to prevent accumulation of ice/snow and water on surface. Periodic inspections and increased maintenance of finish coating may be required.

1.05 	PERFORMANCE REQUIREMENTS

A. System Performance - Durability

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| Accelerated Weathering | ASTM G-23 | 2000 hours | No deleterious effects when viewed under 5x magnification* |
| Freeze/Thaw Resistance | EIMA 101.01 | 60 cycles | No deleterious effects* |
|  | ASTM C-67 (Modified) | 90 cycles | No deleterious effects* |
| Water Penetration | EIMA 101.02 (Modified ASTM E331) | No water penetration beyond plane of the base coat/EPS after 15 minutes @ 6.24 psf | Passed |
| Tensile/Adhesion | EIMA 101.03 (ASTM C-297 Modified) | Minimum 5 psi (34 kPa) tensile strength before/after accelerated weathering and freeze/thaw exposure | No failure in the adhesive, base coat or finish coat. |
| Water Resistance | ASTM D-2247 | 28 day exposure | No deleterious effects* |
| Salt Spray | ASTM B-117 | 700 hour exposure | No deleterious effects* |
| Abrasion Resistance | ASTM D-968 | 1057 quarts (1000L) of sand | No cracking, checking or loss of film integrity. |
| Mildew Resistance | ASTM D-3273 | 28 day exposure | No growth supported |
| Drainage Efficiency | C & I 2000 | N/A | > 95% drainage efficiency |

* No deleterious effects: no cracking, checking, crazing, erosion, rusting, blistering, peeling or   delamination.

B. System Performance - Structural

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| Impact Resistance | EIMA 101.86 | Standard 25-49 in-lbs (2.84-5.83 J) Medium 50-89 in-lbs (5.65-10.1 J) High 90-150 in-lbs (10.2-17.0 J) Ultr High Over 150 in-lbs (17.1 J) | Standard resistance with one layer Sto Mesh. Medium resistance with two layers Sto Mesh. High resistance with one layer Sto Intermediate Mesh. Ultra-High resistance with one layer Sto Armor Mat and one layer Sto Mesh |
| Wind Load | ASTM E-330 | Withstand negative and positive wind loads required by codes | + 120, -100 psf (5.75 kPa, -4.79 kPa) with pvc Ultra-Lath +145, -69 psf (6.94 kPa, -3.30 kPa) with 2.5# Diamond Mesh Metal Lath |

Note: results for wind load are ultimate loads based on average of three panels with loads held for five minutes.

C. Component Performance - Durability

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| Alkali Resistance of Mesh | EIMA 105.01 | Greater than 120 pli (21 dN/cm) retained tensile strength | Pass |
| Physical Properties and Requirements for EPS Board | ASTM C-578 | Refer to EIMA Guideline Specification for Expanded Polystyrene (EPS) Board | Pass |

D. Component Performance - Fire

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| Surface Burning | ASTM E-84 | Adhesive, insulation board, reinforced base coat and finish coat each have flame spread < 25 or less and smoke developed of <450 or less | Pass |

1.06 SUBMITTALS

A. Manufacturer's specifications, details, installation instructions and product data.

B. Applicator's certificate of instruction.

C. Samples for approval as directed by architect or owner.

D. Manufacturer's code report.

E. Manufacturer's standard warranty.

F. A list of minimum three (3) job references.

G. Manufacturer's certificate of compliance with EIMA standards.

H. EPS board manufacturer's certificate of compliance with the current edition of EIMA Guideline Specifications for Expanded Polystyrene (EPS) Insulation Board

I.  Sealant Manufacturer's certificate of compliance with EIMA Standard 300.01.

J.  Prepare and submit project-specific details (when required by contract documents).

1.07 QUALITY ASSURANCE

A. Manufacturer requirements

1. Member in good standing of the EIFS Industry Members Association (EIMA).

2. System manufacturer for a minimum of fifteen (15) years.

3. System recognized for intended use by the national codes and the local code agency with jurisdiction over the project.

B. Contractor requirements

1. Engaged in application of Class PB EIFS for a minimum of three (3) years.

2. Knowledgeable in the proper use and handling of Sto materials.

3. Employ skilled mechanics who are experienced and knowledgeable in Class PB EIFS application, and familiar with the requirements of the specified work.

4. Successful completion of minimum of three (3) projects of similar size and complexity to the specified project.

5. Provide the proper equipment, manpower and supervision on the job site to install the system in compliance with Sto's published specifications and details and the project plans and specifications.

6. Maintain minimum one supervisory employee on the project at all times who 			    has attended the Sto system installation seminar

C. Insulation board manufacturer requirements

1. Recognized by Sto as capable of producing insulation board to meet system requirements, and hold a valid licensing agreement with Sto.

2. Listed by an approved agency.

3. Label insulation board with information required by Sto, the approved listing agency and the applicable building code.

D. Drainage mat manufacturer requirements

1. Member in good standing of EIFS Industry Members Association (EIMA).

2. Recognized by Sto as capable of producing drainage mat that meets the requirements of this specification.

3. Manufacturer of drainage mat for at least three (3) years.

1.08 DELIVERY, STORAGE AND HANDLING

A. Deliver all EIFS materials in their original sealed container bearing manufacturer’s name and identification of product.

B. Protect coatings (pail products) from freezing and temperatures in excess of 90o F (32o C). Store away from direct sunlight.

C. Protect Portland cement based materials (bag products) from moisture and humidity. Store under cover off the ground in a dry location.

1.09 PROJECT/SITE CONDITIONS

(Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying and may require adjustments in the scheduling of work to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing)

A. Maintain ambient and surface temperatures above 40o F (4o C) during	application and drying period, minimum 24 hours after application of EIFS.

B. Provide supplementary heat for installation in temperatures less than 40o F (4o C).

C. Provide protection of surrounding areas and adjacent surfaces from application of materials.

1.10 COORDINATION/SCHEDULING

(The work in this section requires close coordination with related sections and trades. Sequence work to provide protection of construction materials from weather deterioration)

A.  Install secondary weather resistive barrier and flexible membrane flashing at sills before installing doors, windows and other penetrations through the wall.

B.  Install window and door head flashing immediately after windows and doors are installed.

C.  Install diverter flashings wherever water can enter the assembly to direct water to the exterior.

D.  Install copings immediately after installation of the system and when EIFS coatings are dry or provide temporary waterproofing until coping is installed.

E.  Install sealant immediately after installation of the system and when EIFS                                                           	      coatings are dry or provide temporary waterproofing until sealant is installed.

1.11 WARRANTY

A. Provide manufacturer's standard labor and material warranty.

Part 2 PRODUCTS

2.01 MANUFACTURERS

A. Sto Corp. (EIFS Components and Flexible Flashing)

B. Plastic Components, Inc. (PVC Drainage Mat and Starter Track)

C. Provide EIFS components from single source EIFS manufacturer or approved supplier

2.02 SECONDARY WEATHER RESISTIVE BARRIER

A. Code compliant secondary weather resistive barrier (i.e., Southern Building Code; minimum one layer Type 15 felt, kraft waterproof building paper, or equivalent).

2.03	FLASHING

A. Sto Flexible Flashing--rubberized asphalt cold applied, self adhering 		        	   	     membrane as furnished by Sto Corp.

B. Sheet Metal Flashing--minimum 0.019 inch (0.48 mm) (No. 26 gage galvanized 	  	     sheet metal) corrosion-resistant metal

2.04 DRAINAGE MAT (select one)

A. Minimum 2.5 lb (1.14 kg) furred diamond mesh metal lath

B. Ultra-lath, a self-furring pvc (polyvinyl chloride) lath manufactured by Plastic Components, Inc.

(Note: metal lath is not recommend in coastal regions or other areas where corrosive conditions may exist)

2.05 ADHESIVES (select one)

- Sto BTS-PLUS--one-component, polymer-modified, cement-based high build adhesive.

B.  Sto Primer Adhesive B - one component polymer modified cement based factory blend, base coat with less than 33 percent Portland cement content by weight

- Sto Primer Adhesive - acrylic based base coat mixed with Portland cement

2.06 INSULATION BOARD

A. Nominal 1.0 lb/cu.ft. (16 kg/m3) Expanded Polystyrene (EPS) Insulation Board in compliance with ASTM C 578 Type I requirements, and EIMA Guideline Specification for Expanded Polystyrene (EPS) Insulation Board, minimum 1 inch (25 mm) thick.

B. Nominal 2.0 lb/cu.ft. (32 kg/m3) Expanded Polystyrene (EPS) Insulation Board, or nominal 2.0 lb/cu.ft. (32 kg/m3) Rigid, Extruded Polystyrene (XEPS) Insulation Board, in compliance with ASTM C 578, Type IV requirements, minimum 1 inch (25 mm) thick.

(Note: EPS and XEPS insulation board noted in item "B" are used in below grade system applications [see specification Addendum]. Check local code to determine if below grade insulation is permitted).

2.07 BASE COAT (Choose one)

A. Sto RFP--noncementitious, fiber reinforced acrylic base coat.

B. Sto BTS-PLUS--one-component polymer modified cementitious high build base coat with less than 33 percent Portland cement content by weight.

C. Sto Flexyl--fiber reinforced acrylic base coat mixed with Portland cement (for use as                     	     a waterproof base coat to waterproof foundations, sloped sills, parapets and build-	   	     outs or projections).

D. Sto Primer Adhesive B - one component polymer modified cement based factory blend, base coat with less than 33 percent Portland cement content by weight

E. Sto Primer Adhesive - acrylic based base coat mixed with Portland cement

2.08 REINFORCING MESHES

A. Standard Mesh

1. Sto Mesh--nominal 4.8 oz./sq.yd. (163 g/m2), symmetrical, interlaced open-weave glass fiber fabric made with minimum 25 percent by weight alkaline resistant coating for compatibility with Sto materials (achieves Standard Impact Classification).

B. High Impact Mesh

1. Sto Intermediate Mesh--nominal 11.2 oz./sq.yd. (380 g/m2), high impact, interwoven, open weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (achieves High-Impact Classification).

C. Ultra High Impact Mesh

1. Sto Armor Mat--nominal 15 oz./sq.yd. (509 g/m2), ultra-high impact, double strand, interwoven, open-weave glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (recommended to a minimum height of 6’-0" [1.8 m] above grade at all areas accessible to pedestrian traffic [such as ground floors] as indicated on contract drawings). (Achieves Ultra-High Impact Classification when applied beneath Sto Mesh).

D. Specialty Meshes

1. Sto Detail Mesh--nominal 4.5 oz/sq yd (153 g/m2), flexible, symmetrical, interlaced glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (used for standard EIFS backwrapping or pre-wrapping and aesthetic detailing).

2. Sto Corner Mat--nominal 6.25 oz./sq. yd. (212 g/m2), pre-creased, heavy-duty open-weave woven glass fiber fabric with alkaline resistant coating for compatibility with Sto materials (used for maximum impact protection at inside and outside corners).

2.09 PRIMER (select one depending on finish to be used)

A. Sto Primer--acrylic based primer (for Sto acrylic based finishes).

B. StoSilco Prime--silicone enhanced primer (for Sto silicone enhanced finishes).

(NOTE: Priming is recommended as a color base for "R” [rilled texture] finishes, and for fine texture finishes. Priming is required for Sto Varilit. The primer may be tinted to match the finish color.)

2.10 FINISH COAT

(Note: specify finish color with a lightness value of 20% or greater over the system)

- Stolit—acrylic based textured wall coating with graded marble aggregate.

- Sto Essence Finish—acrylic based textured wall coating with graded marble aggregate.

- StoSilco Lit—silicone enhanced textured wall coating with graded marble aggregate.

2.11 JOB MIXED INGREDIENTS

A. Portland Cement: ASTM C 150, Type I.

B. Water: Clean and potable.

2.12 ACCESSORIES

A. Starter Track--rigid PVC (polyvinyl chloride) plastic track with weepholes and drip edge as furnished by Plastic Components, Inc. (Part No. STDE).

2.13 MIXING

A. Sto BTS-PLUS: mix ratio with water: 7-9 US quarts (6.6-8.5 L) of water per 60 pound (27.3 kg) bag of Sto BTS-PLUS. Pour water into a clean mixing pail. Add Sto BTS-PLUS, mix to a uniform consistency and allow to set for approximately 5 minutes, then remix. Adjust mix if necessary with additional Sto BTS-PLUS or water and remix to a uniform trowel consistency. Avoid retempering. Keep mix ratio consistent.

B. Sto Flexyl: mix ratio with Portland cement: 1:1 ratio by weight. Pour Sto Flexyl into a clean mixing pail. Add Portland cement, mix to a uniform consistency and allow to set for approximately five minutes. Adjust mix if necessary with additional Sto Flexyl or cement and remix to a uniform trowel consistency. Avoid retempering. Keep mix ratio consistent. Do not add water.

C. Sto RFP: mix to a uniform consistency. A small amount of water may be added to adjust workability.

D. Sto Primers: mix to a uniform consistency.

E. Sto Finishes: mix to a uniform consistency. A small amount of water may be added to adjust workability. Limit addition of water to amount needed to achieve the finish texture.

F. Mix materials with a clean, rust-free high speed mixer in a clean mixing pail.

G. Mix only as much material as can readily be used.

H.  Do not use anti-freeze compounds or other additives.

Part 3 EXECUTION

3.01 ACCEPTABLE INSTALLERS

A. Prequalify under Quality Assurance requirements of this specification (section 1.07.B).

3.02 EXAMINATION

A. Inspect sheathing application for compliance with applicable requirement:

1. Exterior gypsum sheathing--GA-253

2. Exterior Grade and Exposure I wood based sheathing--APA J20G

B. Inspect flashings at roof/wall transitions, decks and penetrations through wall for

compliance with code.

C. Report deviations from the requirements of project specifications or other conditions that might adversely affect the EIFS installation to the General Contractor.

3.03 INSTALLATION

A. Starter Track

1. Strike a level line at the base of the wall to coincide with the top of the attachment flange of the track.

2. Attach the starter track into the structure a minimum of 12 inches (300 mm) on center with the appropriate fastener: galvanized or zinc coated nails for wood framing with minimum 3/4 inch (19 mm) penetration.

3. Butt sections of starter track together. Miter cut corners and abut.

B. Install flexible wall flashing at sills of rough openings with end dams a minimum of 4 inches (100 mm) up sides of opening. Install sill piece on tapered shim with minimum 7 degree slope and fold down a minimum of 4 inches (100 mm) onto vertical plane of wall over secondary weather resistive barrier.

C. Install secondary weather-resistive barrier over sheathing of all exterior walls horizontally with the upper layer lapped over the lower layer by a minimum of 2 inches (50 mm). Lap over attachment flange of starter track a minimum of 2 inches (50 mm).  Where vertical joints occur lap a minimum of 6 inches (152 mm). Wrap into rough openings at windows, doors and other penetrations through the wall and overlap flexible wall flashing at sill end dams a minimum of 2 inches (50 mm). Do not make holes or breaks in the barrier other than those created by fasteners.

D. Attach drainage mat into solid substrate with Wind Lock fasteners and ULP 302 Plate every 8 inches (203 mm) on center in both directions. See Figures 1 and 2 for attachment patterns and fastener selection chart.  Butt seams of drainage mat and wire tie where edges are not securely attached into substrate.

E. Install Drainage EIFS in compliance with manufacturer's published written instructions (see addendum).

3.04 PROTECTION

A. Provide protection of installed EIFS materials from water infiltration into or behind the system.

B. Provide protection of installed EIFS from dust, dirt, precipitation freezing and continuous high humidity until EIFS coatings are fully dry.

ADDENDUM

Instructions for Installation of StoTherm RainScreen II

A. Backwrapping

1. Attach a strip of detail mesh to the substrate at all system terminations (windows, doors, expansion joints, etc.), except where the starter track is used. The mesh must be wide enough to attach approximately 4 inches (100 mm) of mesh onto the wall, be able to wrap around the insulation board edge and cover a minimum of 2 1/2 inches (64 mm) on the outside surface of the insulation board. After attaching mesh strips to the substrate, they will dangle until the backwrap procedure is completed (section E.1).

(Note: this step may be eliminated if all EPS boards at terminating edges of the system are prewrapped with based coat and reinforcing mesh).

B. Adhesive Application and Installation of Insulation Board

1. Apply adhesive to the back of the insulation board with a 5/8 x 5/8 inch (16x16mm) stainless steel square-notched trowel. Apply uniform ribbons of adhesive parallel with the short dimension of the board

2. Immediately place insulation boards in a running bond pattern on the walls with the long dimension horizontal.  Start by inserting the first course of insulation board in the starter track.  Apply firm pressure over the entire surface of the boards to properly key the adhesive into and around the drainage mat. Bridge drainage mat seams by a minimum of 8 inches (200 mm).

3. Butt all board joints tightly together to eliminate any thermal breaks in the EIFS. Care must be taken to prevent any adhesive from getting between the joints of the boards.

4. Cut insulation board in an L-shaped pattern to fit around openings. Do not align board joints with corners of openings.

5. Remove individual boards periodically while the adhesive is still wet to check for satisfactory keying into the drainage mat and the back of the insulation board. An equal amount of adhesive must be on the drainage mat and the board when they are removed, as an indication of adequate keying.

(Note: Do not use nails, screws, or any other type of nonthermal mechanical 	    	  	   fastener)

C. Slivering and Rasping of Insulation Board Surface

1. Fill any open joints in the insulation board layer with slivers of insulation or approved spray foam.

2. After insulation boards are firmly adhered to the substrate, rasp the surface to achieve a smooth, even surface and to remove any ultraviolet ray damage.

(Note: EPS insulation board exposed to sunlight for an extended period will develop a powdery residue on the surface. This residue must be entirely removed by rasping the surface)

D. Reveals/Aesthetic Grooves

(Note: Reveals/aesthetic grooves may be designed into the system to accommodate workability on multilevel buildings or lengthy wall sections)

1. Cut reveals/aesthetic grooves with a hot-knife, router or groove-tool in locations indicated on project plans.

2. Offset reveals minimum 3 inches (75 mm) from insulation board joints.

3. Do not locate reveals at high stress areas such as corners of windows, doors, etc.

4. A minimum of 3/4 inch (19 mm) thickness of insulation board must remain at the bottom of the groove after cutting.

E. Completion of Backwrapping

1. Complete the backwrapping procedure by applying base coat to exposed edges of insulation board and approximately 4 inches (100 mm) onto the face of the insulation board. Pull mesh tight around the board and embed it in the base coat with a stainless steel trowel. Use a corner trowel for clean, straight lines. Smooth any wrinkles or gaps in the mesh.

F. Base Coat and Reinforcing Mesh Application

1. Apply minimum 9x12 inch (225x300 mm) diagonal strips (using detail mesh) at corners of windows, doors, and all penetrations through the system. Embed the strips in wet basecoat and trowel from the center to the edges of the mesh to avoid wrinkles.

2. Apply detail mesh at reveals. Embed the mesh in the wet base coat and trowel from the base of the reveal to the edges of the mesh.

3. High Impact mesh application (recommended to a minimum height of 6'-0" [1.8 m] above grade at all areas accessible to pedestrian traffic [such as ground floors] as indicated on contract drawings). Apply base coat over the insulation board with spray equipment or a stainless steel trowel to a uniform thickness of approximately 1/16 inch (1.6mm). Work horizontally or vertically in strips of 40 inches (1016 mm), and immediately embed the mesh into the wet base coat by troweling from the center to the edge of the mesh. Butt the mesh at seams. Allow the base coat to dry.

4. Standard mesh application: Apply base coat over the insulation board, including areas with high impact mesh, with spray equipment or a stainless steel trowel to a uniform thickness of approximately 1/16 inch (1.6 mm). Work horizontally or vertically in strips

of 40 inches (1016mm), and immediately embed the mesh into the wet base coat by troweling from the center to the edge of the mesh. Overlap mesh not less than 2 1/2 inches (64 mm) at mesh seams and at overlaps of detail mesh. Feather seams and edges. Double wrap all inside and outside corners with minimum 6 inch (152 mm) overlap in each direction. (Alternate corner treatment: Embed corner mat in wet base coat, allow to dry, then overlap up to corner with standard reinforcing mesh embedded in base coat.) Avoid wrinkles in the mesh. The mesh must be fully embedded so that no mesh color shows through the base coat when it is dry.  Re-skim with additional base coat if mesh color is visible.

5. Allow base coat to thoroughly dry before applying primer or finish.

G. Finish Coat Application

(Note: If a primer is used, apply with brush, roller or proper spray equipment over the clean, dry base coat and allow to dry thoroughly before applying finish).

1. Apply finish directly over the base coat (or primed base coat) ONLY AFTER THE BASE COAT/PRIMER HAS THOROUGHLY DRIED. Apply finish by spraying or troweling with a stainless steel trowel, depending on the finish specified. Follow these general rules for application of finish:

a. Avoid application in direct sunlight.

b. Apply finish in a continuous application, and work to a wet edge.

c. Weather conditions affect application and drying time. Hot or dry conditions limit working time and accelerate drying and may require adjustments in the scheduling of work to achieve desired results; cool or damp conditions extend working time and retard drying and may require added measures of protection against wind, dust, dirt, rain and freezing. Adjust work schedule accordingly and provide protection as necessary.

d. Float "R" (rilled texture) finishes with a plastic trowel to achieve their rilled texture.

e. Do not install separate batches of finish side-by-side.

f.  Do not apply finish into or over sealant joints. Apply finish to outside face of wall only.

g. Do not apply finish over irregular or unprepared surfaces, or surfaces not in compliance with the requirements of the project specifications.

For below grade application, sloped sills, parapets, and build-outs or projections greater than 2 inches (51 mm) use the following procedures:

A. Below Grade Installation

1. Adhesive and Insulation Board Installation: Install Type IV insulation board (in compliance with section 2.04.B of this specification) to a minimum 12 inches (300 mm) above grade and to the foundation footing.

2. Base Coat Application: Follow procedure outlined in section F4 and F5 of these instructions.

3. Finish Coat Application: apply finish coat in accordance with section G1 of these instructions.  Do not apply finish below grade. Allow sufficient distance above grade to prevent accumulation of snow, ice and water against coating.

(Note: local codes may prohibit the use of below grade insulation. Check local codes before installing system below grade. Provide means to inspect for and detect termites in areas with termite or insect control problems. Before backfilling, protect the below grade system with insulation board and provide drainage board or material to prevent damage to the system, then backfill).

B. Sloped EIFS Sills, Parapets and Aesthetic Bands or Projections Greater than 2 inches (51 mm) thick

1. Apply waterproof base coat and standard mesh over the dry reinforced base coat with spray equipment or a stainless steel trowel in accordance with section F4 of these instructions on the sloped surface and immediately above and below it (minimum 6 inches [152mm]).

2. Allow base coat to dry and prime with the appropriate primer.

3. Apply finish coat in accordance with section G1 of these instructions.

(Note: Sloped sills, parapets and aesthetic bands or projections must maintain a minimum 1:2 [27 degrees] slope and a maximum width of 12" [300 mm].  Increase slope for northern climates to prevent accumulation of ice, snow and water on surface.  Sto Flexyl with Sto Mesh and appropriate Sto primer is required for all sloped surfaces or trim more than 2 inches (51 mm) thick.

ATTENTION

Sto products are intended for use by qualified professional contractors, not consumers, as a component of a larger construction assembly as specified by a qualified design professional, general contractor or builder.  They should be installed in accordance with those specifications and Sto’s instructions.  Sto Corp. disclaims all,  and assumes no, liability for on-site inspections, for its products applied improperly, or by unqualified persons or entities, or as part of an improperly designed or constructed building, for the nonperformance of adjacent building components or assemblies, or for other construction activities beyond Sto’s control.  Improper use of Sto products or use as part of an improperly designed or constructed larger assembly or building may result in serious damage to Sto products, and to the structure of the building or its components.  STO CORP. DISCLAIMS ALL WARRANTIES EXPRESS OR IMPLIED EXCEPT FOR EXPLICIT LIMITED WRITTEN WARRANTIES ISSUED TO AND ACCEPTED BY BUILDING OWNERS IN ACCORDANCE WITH STO’S WARRANTY PROGRAMS WHICH ARE SUBJECT TO CHANGE FROM TIME TO TIME.  For the fullest, most current information on proper application, clean-up, mixing and other specifications and warranties, cautions and disclaimers, please refer to the Sto Corp. website, www.stocorp.com.