## Estimate
[5 empty] | Material | Labor | Labor | Other | TOTAL |  | Dimension | Dimension | Add On | Deduct | Pitch | Pitch | Slope | Multip | Total | Material | Labor | Labor | Other | Total | Wage Rate
Section ID | Costcode | Work Item Description | Quantity | Unit | $ | Hrs | $ | $ | $ | Notes | 1 | 2 | Area | Area | Vert | Horiz | % | lier | Area | $/Unit | Hrs/Unit | $/Unit | $/Unit | $/Unit | $/Hr

## JobInfo
COMPANY INFO | >> Edit below to identify your company
Name | MyName
Title | MyTitle
Name/Company | MyCompany
Name/Company 2nd Line | MyCompany2
License No. | MyLicense
Address | MyAddress
City/State/Zip | MyCity/State/Zip
Phone | MyPhone
Fax | MyFax
Email | MyEmail
JOB INFO | >> Edit below to identify your project
Customer Name | CustomerName
Customer Company | CustomerCompany
Address | CustomerAddress
City/State/Zip | CustomerCity/State/Zip
Phone | CustomerPhone
Fax | CustomerFax
Project Name: | ProjectName
Project Location: | ProjectLocation
Project Description | ProjectDescription
Work Description | WorkDescription
*** Worksheet edit notes ***
1. Entries shall appear in Estimate Quote
2. Enter info in cells highlighted in green
3. Do NOT add or delete rows
4. Do NOT add or delete columns

## QuickHelp
QUICK HELP
How come I do not see the "PowerRoof" menu inserted among the Excel menu system? | Check the following. 1. Click Tools > Macro > Security. Then click on "Medium" security. 2. Close the PowerRoof.xls file, then open it again. At startup click on "Enable Macros". Now, you should see the "PowerRoofCost" menu inserted among the Excel menu system. >>> For Office 2007-12 When you open the program with Excel, in response to security warning, click on "Options", then select "Enable this content". This will allow the program to run on MS Excel 2007-12. In order to see the PowerRoof menu, click on "Add-Ins" menu of Excel. Then click on "PowerRoof" to see the menu.
When I open PowerEstimator Roof, why does a menu called "PowerRoof" appear in Excel's menu bar? | In order to make our system as easy to use as possible, we added functions to the familiar existing interface, namely the Excel menu bar. The PowerRoof menu item shall be there *only* when you are using the PowerRoof.xls file. When you leave, it will disappear from Excel's menu.
How do I start a new estimate? | To start with an empty Estimate worksheet, click on Clear Estimate Worksheet from PowerRoof menu. Then click on "Add Standard Cost Item(s) Using Lookup" from Excel's PowerRoof menu.
Where are standard cost data stored in PowerEstimator Roof? | Standard cost data is stored in worksheets representing cost categories in construction. Example: General, Sitework, Concrete etc. Click on the tab at the bottom of the worksheet to access the Data sheet.
Standard cost item quantities are indicated as 1.00. I can't edit the values on the Estimate worksheet. | You should not edit any cells directly on the worksheet. Instead, click on the row to edit, then select the Edit Cost Item submenu from PowerRoof menu. The changes will automatically be updated in the Estimate worksheet under program control.
How can I enter or change my Overhead and Profit applications | Use Rates worksheet.
How does PowerEstimator Roof work? | With PowerRoof, the main estimate is created using a convenient wizard interface which goes through all cost categories allowing you to select one or more items from each category page. Subsequently you can insert additional custom cost items to the estimate. The program automatically applies overhead and profits and makes city cost index adjustments.
What does City selection do? | When you select your city from the "City" page of the wizard, PowerRoof will apply the city index (factor) to the construction costs.
How can I change my city's index? | Open the "City" worksheet by clicking on the tab. Then edit the index (factor) in green. Use only numerics.
What should I do if my city is not in the list? | Select a city that you believe is close in terms of costs. Alternatively, you can edit an existing entry or add your city to the list.
How can I add and customize data in PowerRoof data sheets? | To add, insert a blank row where your data should appear. To edit, simply change the data by overwriting it (See PowerRoof Help for more on adding data to lists).
How can I get Help? | Click on "Show PowerRoof Help" from the PowerRoof menu. You can also email CPR, Inc. at pe@powerestimator.com for your questions.
Can I add, delete or change worksheet names? | You can not add or delete worksheets that will integrate with the system. However, you may change the worksheet names for cost categories. Remember, each name must be one word (no spaces). After changes, save and reopen for the PowerRoof menu to generate.
How do I create the estimate report? | Select the appropriate report from PowerRoof menu. The report will be automatically created on a separate workbook.
How can I save the estimate report? | Use Excel's Save As function.
How do I save the estimate report? | Switch to the newly created Excel estimate report file. Then simply use Excel's File > Save As function.
Why are item quantities are indicated as 1.00 (one) in the Estimate? | Because PowerRoof does not initially know your takeoff quantities. These are highlighted in red borders. It is essential to edit each additional item entry and change the quantity to the correct amount.
After I create a report how can I go back to the Estimate? | Click on the "PowerRoof.xls" button from the Taskbar.
Can PowerEstimator Roof insert my company logo graphic in the Quote report automatically? | "Yes, PowerEstimator Roof can do that. First, create your graphic logo in (jpg) format. Then copy the graphic logo file into the Installation Folder and rename it as Mylogo.jpg inside the folder. If your graphic file is in (gif) or (bmp) format, still rename it as Mylogo.jpg since PowerEstimator Roof will look for this filename."
How can I get program updates? | Visit our website at www.powerestimator.com for more info.

## City
Location | Factor
Selected >>> | 1
Average City, USA | 1
Anchorage, AK | 1.33 | Edit Notes:
Birmingham, AL | 0.83 | 1. Click your city to select index
Mobile, AL | 0.82 | 2. Do not edit or delete cells in red
Montgomery, AL | 0.79
Tuscaloosa, AL | 0.79
Forth Smith, AR | 0.81
Little Rock, AR | 0.82
Pine Bluff, AR | 0.81
Flagstaff, AZ | 0.91
Phoenix, AZ | 0.94
Tucson, AZ | 0.91
Yuma, AZ | 0.88
Anaheim, CA | 1.12
Bakersfield, CA | 1.09
Fresno, CA | 1.14
Los Angeles, CA | 1.15
Oakland, CA | 1.18
Riverside, CA | 1.13
Sacramento, CA | 1.13
San Diego, CA | 1.16
San Francisco, CA | 1.32
San Jose, CA | 1.34
San Luis Obispo, CA | 1.16
Santa Barbara, CA | 1.12
Santa Rosa, CA | 1.15
Boulder, CO | 0.91
Denver, CO | 1.01
Durango, CO | 0.91
Fort Collins, CO | 0.97
Bridgeport, CT | 1.04
Hartford, CT | 1.02
Stamford, CT | 1.05
Waterbury, CT | 1.04
Washington, D.C. | 0.97
Wilmington, DE | 1.02
Jacksonville, FL | 0.85
Miami, FL | 0.87
Tampa, FL | 0.83
West Palm Beach, FL | 0.87
Atlanta, GA | 0.86
Augusta, GA | 0.78
Columbus, GA | 0.78
Savannah, GA | 0.81
Hilo, HI | 1.31
Honolulu, HI | 1.3
Council Bluffs, IA | 0.94
Davenport, IA | 0.97
Des Moines, IA | 0.96
Sioux City, IA | 0.92
Boise, ID | 0.95
Lewiston, ID | 1.06
Twin Falls, ID | 0.83
Chicago, IL | 1.15
Peoria, IL | 1.05
Springfield, IL | 1.03
Evansville, IN | 0.94
Fort Wayne, IN | 0.91
Gary, IN | 0.99
Indianapolis, IN | 0.98
Terre Haute, IN | 0.94
Dodge City, KS | 0.82
Topeka, KS | 0.84
Wichita, KS | 0.88
Bowling Green, KY | 0.93
Lexington, KY | 0.88
Louisville, KY | 0.96
Paducah, KY | 0.94
Baton Rouge, LA | 0.85
Lake Charles, LA | 0.84
New Orleans, LA | 0.88
Shreveport, LA | 0.8
Boston, MA | 1.17
Lowell, MA | 1.03
Marblehead, MA | 1.24
Springfield, MA | 1.02
Worcester, MA | 1.12
Annapolis, MD | 0.93
Baltimore, MD | 0.92
Hagerstown, MD | 0.89
Augusta, ME | 0.89
Lewiston, ME | 0.9
Portland, ME | 0.95
Detroit, MI | 1.04
Grand Rapids, MI | 0.91
Lansing, MI | 1
Saginaw, MI | 0.99
Minneapolis, MN | 1.13
Rochester, MN | 0.99
Saint Paul, MN | 1.08
Joplin, MO | 0.86
Kansas City, MO | 0.98
Springfield, MO | 0.85
St. Louis, MO | 0.96
Columbus, MS | 0.73
Greenwood, MS | 0.74
Jackson, MS | 0.82
Billings, MT | 0.94
Butte, MT | 0.89
Great Falls, MT | 0.93
Missoula, MT | 0.88
Memphis, TN | 0.86
Charlotte, NC | 0.78
Greensboro, NC | 0.77
Raleigh, NC | 0.78
Wilmington, NC | 0.76
Bismark, ND | 0.85
Fargo, ND | 0.86
Grand Forks, ND | 0.82
Grand Island, NE | 0.86
Lincoln, NE | 0.92
Omaha, NE | 0.93
Concord, NH | 0.93
Manchester, NH | 0.88
Nashua, NH | 0.95
Atlantic City, NJ | 1.12
Newark, NJ | 1.17
Paterson, NJ | 1.06
Summit, NJ | 1.09
Trenton, NJ | 1.1
Albuquerque, NM | 0.92
Las Cruces, NM | 0.83
Santa Fe, NM | 0.91
Carson City, NV | 0.98
Las Vegas, NV | 1.03
Reno, NV | 0.99
Albany, NY | 0.95
Binghamton, NY | 0.97
Buffalo, NY | 1.06
Kingston, NY | 1.09
Long Island, NY | 1.33
Mount Vernon, NY | 1.18
New York City, NY | 1.29
Rochester, NY | 1.01
Syracuse, NY | 0.98
White Plains, NY | 1.15
Cincinnati, OH | 1.02
Cleveland, OH | 1.01
Columbus, OH | 0.97
Toledo, OH | 0.99
Youngstown, OH | 0.97
Lawton, OK | 0.82
Oklahoma City, OK | 0.85
Shawnee, OK | 0.78
Tulsa, OK | 0.83
Eugene, OR | 1.03
Medford, OR | 1.05
Pendleton, OR | 1.02
Portland, OR | 1.07
Salem, OR | 1.01
Allentown, PA | 0.99
Bradford, PA | 1.02
Harrisburg, PA | 0.96
New Castle, PA | 1.02
Philadelphia, PA | 1.15
Pittsburgh, PA | 1.07
Newport, RI | 1
Pawtucket, RI | 0.98
Providence, RI | 1.01
Charleston, SC | 0.77
Columbia, SC | 0.78
Greenville, SC | 0.75
Aberdeen, SD | 0.86
Pierre, SD | 0.83
Rapid City, SD | 0.82
Sioux Falls, SD | 0.86
Chattanooga, TN | 0.84
Jackson, TN | 0.72
Johnson City, TN | 0.81
Knoxville, TN | 0.83
Nashville, TN | 0.88
Austin, TX | 0.81
Dallas, TX | 0.92
El Paso, TX | 0.82
Houston, TX | 0.88
Laredo, TX | 0.79
San Antonio, TX | 0.84
Tyler, TX | 0.94
Logan, UT | 0.92
Ogden, UT | 0.9
Salt Lake, UT | 0.92
Alexandria, VA | 0.95
Lynchburg, VA | 0.82
Norfolk, VA | 0.84
Richmond, VA | 0.86
Staunton, VA | 0.78
Brattleboro, VT | 0.83
Burlington, VT | 0.92
Rutland, VT | 0.91
Richland, WA | 1.01
Seattle, WA | 1.04
Spokane, WA | 0.97
Tacoma, WA | 1.04
Yakima, WA | 1 | Edit Notes:
Beloit, WI | 1.01 | 1. Click your city to select index
Eau Claire, WI | 0.99 | 2. Do not edit or delete cells in red
Green Bay, WI | 1.02 | 3. You may edit cells in green
Madison, WI | 0.99
Milwaukee, WI | 1.05
Wausau, WI | 0.96
Charleston, WV | 0.95
Clarksburg, WV | 0.99
Morgantown, WV | 0.98
Parkersburg, WV | 0.89
Wheeling, WV | 0.94
Casper, WY | 0.88
Cheyenne, WY | 0.93
Rawlins, WY | 0.84
Rock Springs, WY | 0.86

## Rates
Application | Value | Unit
Job - Overhead Rate | 15 | %
Job - Profit Rate | 10 | %
Wage-Scale1 | 25.8 | Hour | Ex: Labor, clerical
Wage-Scale2 | 29 | Hour | Ex: Labor, clerical, driver
Wage-Scale3 | 32 | Hour | Ex: Labor, clerical, driver, maintenance
Wage-Scale4 | 35.65 | Hour | Ex: Labor, maintenance, technician, drafting
Wage-Scale5 | 39.25 | Hour | Ex: Trade, technician, drafting, operator
Wage-Scale6 | 44.5 | Hour | Ex: Trade, technician, operator
Wage-Scale7 | 53.25 | Hour | Ex: Trade, technician, supervision
Wage-Scale8 | 61.5 | Hour | Ex: Trade, technician, supervision
Wage-Scale9 | 68 | Hour | Ex: Trade, supervision
Wage-Scale10 | 83.75 | Hour | Ex: Professional, specialty
Wage-Scale11 | 99.75 | Hour | Ex: Professional, design, specialty
Wage-Scale12 | 135 | Hour | Ex: Professional, consulting
Sales Tax Rate | 8 | %
Edit Notes:
1. Edits allowed in cells highlighted in GREEN
2. Do not edit or delete cells in RED
3. Do not add or delete columns and rows

## General
Costcode | Description | Unit | MATERIAL$/Unit | Labor Hrs/Unit | LABOR $/Unit | OTHER $/Unit | TOTAL $/Unit
GENERAL
01020 | PROFESSIONAL
010201000 | Building permit | Ea | 0 | 0 | 0 | 160 | 160
010201100 | Engineer | Hr | 0 | 1 | 99.75 | 0 | 99.75
010201200 | Architect | Hr | 0 | 1 | 99.75 | 0 | 99.75
010201400 | Draftsman | Hr | 0 | 1 | 39.25 | 0 | 39.25
010203160 | Supervision | Hr | 0 | 1 | 53.25 | 0 | 53.25
013301300 | Surveyor | Hr | 0 | 1 | 83.75 | 0 | 83.75
01500 | TEMPORARY FACILITIES
015003000 | Temporary repairs | Ea | 35.5 | 3.6 | 191.7 | 0 | 227.2
015003100 | Temporary CL fencing, 5' H | Lf | 11.9 | 0.25 | 13.31 | 0 | 25.21
015003200 | Temporary lighting | Lot | 61 | 2.1 | 129.15 | 225 | 415.15
015003300 | Temporary power | Lot | 105 | 2.75 | 169.13 | 480 | 754.13
015003410 | Power pole, 100 Amp | Mon | 0 | 0 | 0 | 110 | 110
015003430 | Power pole, 200 Amp | Mon | 0 | 0 | 0 | 125 | 125
015003450 | Electricity per 1000 Sf | Mon | 42.5 | 0 | 0 | 0 | 42.5
015003460 | Temporary office trailer, 24' long | Mon | 0 | 0 | 0 | 250 | 250
015003500 | Temporary plumbing | Lot | 135 | 9 | 553.5 | 450 | 1138.5
015004100 | Temporary roof | Lot | 525 | 10 | 532.5 | 325 | 1382.5
015004200 | Temporary board up | Lot | 450 | 8 | 356 | 0 | 806
015004210 | Board-up cover, min | Lot | 60 | 2.5 | 111.25 | 0 | 171.25
015004220 | Board-up cover, one sheet plywood | Ea | 25 | 1.1 | 48.95 | 0 | 73.95
015004230 | Board-up cover, two sheets plywood | Ea | 37 | 1.75 | 77.88 | 0 | 114.88
015004300 | Temporary construction | Lot | 450 | 16 | 712 | 275 | 1437
015004400 | Portable toilet | Mon | 0 | 0 | 0 | 140 | 140
015004420 | Temporary water, 1000 Gallons | Lot | 97.5 | 0 | 0 | 0 | 97.5
01600 | EQUIPMENT RENTAL
016001000 | Air fan, 24" D | Day | 0 | 0 | 0 | 11 | 11
016001020 | Auger, horizontal boring, 45 Hp | Day | 0 | 0 | 0 | 605 | 605
016001040 | Pipe bender | Day | 0 | 0 | 0 | 8.5 | 8.5
016001060 | Backhoe, diesel, crawler, 1/2 Cy | Day | 0 | 0 | 0 | 865 | 865
016001080 | Backhoe, diesel, crawler, 1 Cy | Day | 0 | 0 | 0 | 1075 | 1075
016001100 | Backhoe-loader, wheel, 5/8 Cy | Day | 0 | 0 | 0 | 320 | 320
016001120 | Blower, garden, backpack | Day | 0 | 0 | 0 | 65 | 65
016001140 | Boom, telescoping, 40',gas | Day | 0 | 0 | 0 | 405 | 405
016001160 | Bucket, clamshell, 3/8 Cy | Day | 0 | 0 | 0 | 103 | 103
016001180 | Bucket, clamshell, 1 Cy | Day | 0 | 0 | 0 | 145 | 145
016001200 | Bucket, dragline, 1/2 Cy | Day | 0 | 0 | 0 | 82.5 | 82.5
016001220 | Concrete cart | Day | 0 | 0 | 0 | 66 | 66
016001240 | Air compressor, elec, 1.8 CFM | Day | 0 | 0 | 0 | 64 | 64
016001260 | Air compressor, elec, 8.5 CFM | Day | 0 | 0 | 0 | 72 | 72
016001280 | Air compressor, gas, 60 CFM | Day | 0 | 0 | 0 | 98 | 98
016001300 | Air compressor, gas, 160 CFM | Day | 0 | 0 | 0 | 165 | 165
016001320 | Compactor, roller, 2000 Lb | Day | 0 | 0 | 0 | 180 | 180
016001340 | Conveyor, concrete, 21 Ft, elec | Day | 0 | 0 | 0 | 103 | 103
016001360 | Core drill, electric, 2-1/2 HP | Day | 0 | 0 | 0 | 85 | 85
016001380 | Crane, climbing, 6000 Lb | Day | 0 | 0 | 0 | 1075 | 1075
016001400 | Crane, truck mount, 20 T | Day | 0 | 0 | 0 | 772.5 | 772.5
016001420 | Crane, truck mount, 40 T | Day | 0 | 0 | 0 | 1220 | 1220
016001440 | Crane, truck mount, hydr, 12 T | Day | 0 | 0 | 0 | 575 | 575
016001460 | Crane, truck mount, hydr, 25 T | Day | 0 | 0 | 0 | 835 | 835
016001480 | Crawler, cable, 1/2 CY, 15 T | Day | 0 | 0 | 0 | 490 | 490
016001500 | Crawler, cable, 1 CY, 25 T | Day | 0 | 0 | 0 | 685 | 685
016001520 | Crawler, cable, 2 CY, 50 T | Day | 0 | 0 | 0 | 1125 | 1125
016001540 | Cutter, bolt, 24" | Day | 0 | 0 | 0 | 16.5 | 16.5
016001560 | Cutter/bender, rebar | Day | 0 | 0 | 0 | 17.5 | 17.5
016001580 | Cutter, asphalt tile | Day | 0 | 0 | 0 | 17.5 | 17.5
016001600 | Cutter, ceramic tile, 12" | Day | 0 | 0 | 0 | 15.45 | 15.45
016001620 | Metal detector | Day | 0 | 0 | 0 | 36 | 36
016001640 | Drill, handheld, 65 Lb | Day | 0 | 0 | 0 | 56 | 56
016001660 | Drill, rotary, elec, 1/2" | Day | 0 | 0 | 0 | 23.5 | 23.5
016001680 | Drill, rotary, elec, 1-1/2" | Day | 0 | 0 | 0 | 44.5 | 44.5
016001700 | Dumpster, 10 Cy, incl removal | Day | 0 | 0 | 0 | 87.5 | 87.5
016001720 | Edger, lawn, gas | Day | 0 | 0 | 0 | 34 | 34
016001740 | Finisher, concrete floor, gas | Day | 0 | 0 | 0 | 170 | 170
016001760 | Floodlight, mercury, 1000 W | Day | 0 | 0 | 0 | 34 | 34
016001780 | Forklift, gas, 3000 Lb, 18' | Day | 0 | 0 | 0 | 285 | 285
016001800 | Forklift, diesel, 4000 Lb, 28' | Day | 0 | 0 | 0 | 265 | 265
016001820 | Generator, electric, 3 Kw | Day | 0 | 0 | 0 | 67.5 | 67.5
016001840 | Generator, electric, 5 Kw | Day | 0 | 0 | 0 | 72 | 72
016001860 | Generator, diesel, 20 Kw | Day | 0 | 0 | 0 | 139 | 139
016001880 | Generator, diesel, 50 Kw | Day | 0 | 0 | 0 | 185 | 185
016001900 | Grader, self-prop, 25000 Lb | Day | 0 | 0 | 0 | 565 | 565
016001920 | Grader, self-prop, 40000 Lb | Day | 0 | 0 | 0 | 750 | 750
016001940 | Grinder, concrete | Day | 0 | 0 | 0 | 90 | 90
016001960 | Hammer, rotary, 30 Lb, elec | Day | 0 | 0 | 0 | 92.5 | 92.5
016001980 | Hammer, rotary, 60 Lb, demo | Day | 0 | 0 | 0 | 155 | 155
016002000 | Hammer, sledge, 16 Lb | Day | 0 | 0 | 0 | 15 | 15
016002020 | Hammer, demo, self-prop, 1000 Lb | Day | 0 | 0 | 0 | 460 | 460
016002040 | Hoist, chain, 3 T | Day | 0 | 0 | 0 | 45 | 45
016002060 | Hoist, overhead, manual, 3/4 T | Day | 0 | 0 | 0 | 18 | 18
016002080 | Hose, air, 50', 3/4" D | Day | 0 | 0 | 0 | 17 | 17
016002100 | Hose, air, 50', 1-1/2" D | Day | 0 | 0 | 0 | 12.75 | 12.75
016002120 | Hose, water, 20', 2" D | Day | 0 | 0 | 0 | 11 | 11
016002140 | Hose, water, 20', 3" D | Day | 0 | 0 | 0 | 16.5 | 16.5
016002160 | Heater, space, 50 Mbh | Day | 0 | 0 | 0 | 15.5 | 15.5
016002180 | Jack, hydraulic, 20 T | Day | 0 | 0 | 0 | 6 | 6
016002200 | Ladder, extension, 40 Ft | Day | 0 | 0 | 0 | 33 | 33
016002220 | Stepladder | Day | 0 | 0 | 0 | 17 | 17
016002240 | Lift,equipment, 750 Lb, 5 Ft | Day | 0 | 0 | 0 | 56 | 56
016002260 | Lift,equipment, 500 Lb, 17 Ft | Day | 0 | 0 | 0 | 67.5 | 67.5
016002280 | Aerial lift, scissor, elec | Day | 0 | 0 | 0 | 82.5 | 82.5
016002300 | Mixer, concrete, 3.5 Cf, elec | Day | 0 | 0 | 0 | 66 | 66
016002320 | Mixer, concrete & mortar, 10 Cf | Day | 0 | 0 | 0 | 69 | 69
016002340 | Mixer, plaster | Day | 0 | 0 | 0 | 65 | 65
016002360 | Mower, riding type | Day | 0 | 0 | 0 | 140 | 140
016002380 | Power mulcher, small | Day | 0 | 0 | 0 | 175 | 175
016002400 | Post driver, manual | Day | 0 | 0 | 0 | 8.5 | 8.5
016002420 | Floor polisher, 14 in | Day | 0 | 0 | 0 | 22.5 | 22.5
016002440 | Pump , centr gas, 1-1/2", 4 Mgph | Day | 0 | 0 | 0 | 27 | 27
016002460 | Pump, centr gas, 2", 8 Mgph | Day | 0 | 0 | 0 | 30 | 30
016002480 | Pump, submers elec, 1-1/4" D | Day | 0 | 0 | 0 | 50 | 50
016002500 | Pump, concrete, 80' boom | Day | 0 | 0 | 0 | 1050 | 1050
016002520 | Roller, tandem, gas, 3 T | Day | 0 | 0 | 0 | 150 | 150
016002540 | Roller, towed, gas, 2 T | Day | 0 | 0 | 0 | 130 | 130
016002560 | Chainsaw, 16", elec | Day | 0 | 0 | 0 | 72 | 72
016002580 | Saw, miter, 10", elec | Day | 0 | 0 | 0 | 45 | 45
016002600 | Saw, circular, 7" | Day | 0 | 0 | 0 | 17.5 | 17.5
016002620 | Saw, radial arm, 10" | Day | 0 | 0 | 0 | 57 | 57
016002640 | Saw, table | Day | 0 | 0 | 0 | 35 | 35
016002660 | Saw, concrete, gas | Day | 0 | 0 | 0 | 85 | 85
016002680 | Sandblaster, portable, 3 Cf | Day | 0 | 0 | 0 | 85 | 85
016002700 | Scaffold, 10 Ft | Day | 0 | 0 | 0 | 28.5 | 28.5
016002720 | Scaffold, 20 Ft | Day | 0 | 0 | 0 | 37 | 37
016002740 | Scraper, towed, 7 Cy | Day | 0 | 0 | 0 | 79 | 79
016002760 | Scraper, self-prop, 16 Cy | Day | 0 | 0 | 0 | 80 | 80
016002780 | Sprayer, paint, 8 Cfm | Day | 0 | 0 | 0 | 42.25 | 42.25
016002800 | Stapler, air, roofing | Day | 0 | 0 | 0 | 49 | 49
016002820 | Stud driver, power | Day | 0 | 0 | 0 | 34 | 34
016002860 | Tiller, gas | Day | 0 | 0 | 0 | 85 | 85
016002880 | Torch, cutting, 150' hose | Day | 0 | 0 | 0 | 22 | 22
016002900 | Tractor 30 T, 200 Hp | Day | 0 | 0 | 0 | 385 | 385
016002920 | Tractor 30 T, 250 Hp | Day | 0 | 0 | 0 | 400 | 400
016002940 | Transit tripod set | Day | 0 | 0 | 0 | 41.5 | 41.5
016002960 | Tractor, crawler, 75 Hp | Day | 0 | 0 | 0 | 400 | 400
016002980 | Tractor, crawler, 200 Hp | Day | 0 | 0 | 0 | 365 | 365
016003000 | Trencher, chain, gas, 12 Hp | Day | 0 | 0 | 0 | 97.5 | 97.5
016003020 | Truck, dump, tandem, 12 T load | Day | 0 | 0 | 0 | 490 | 490
016003040 | Truck, dump, tandem 16 T load | Day | 0 | 0 | 0 | 565 | 565
016003060 | Truck, pickup, 3/4 T | Day | 0 | 0 | 0 | 92.5 | 92.5
016003080 | Truck, pickup, 1 T | Day | 0 | 0 | 0 | 115 | 115
016003100 | Tractor, loader, 65 Hp | Day | 0 | 0 | 0 | 365 | 365
016003120 | Tractor, loader, 100 Hp | Day | 0 | 0 | 0 | 540 | 540
016003140 | Trowel, concrete, 44" D | Day | 0 | 0 | 0 | 77.5 | 77.5
016003160 | Vibrator, concrete, electric | Day | 0 | 0 | 0 | 77.5 | 77.5
016003180 | Wheelbarrow | Day | 0 | 0 | 0 | 9.25 | 9.25
016003200 | Welder, electric, 200 Amp | Day | 0 | 0 | 0 | 24 | 24
016003220 | Welder, gas, 200 Amp | Day | 0 | 0 | 0 | 52.5 | 52.5
016003240 | Wallpaper remover | Day | 0 | 0 | 0 | 36 | 36
017001100 | Final cleanup | SfFl | 0 | 0 | 0 | 1.15 | 1.15
018001115 | Dumpster, per load, large, incl haul | Ea | 0 | 0 | 0 | 425 | 425
018001145 | Dumpster, per load, small, incl haul | Ea | 0 | 0 | 0 | 170 | 170

## Sitework
Costcode | Description | Unit | MATERIAL$/Unit | Labor Hrs/Unit | LABOR $/Unit | OTHER $/Unit | TOTAL $/Unit
SITEWORK
02050 | DEMOLITION
020501310 | Ceiling demolition | Sf | 0 | 0.018 | 0.64 | 0.12 | 0.76
020501550 | Debris removal | Cy | 0 | 0.9 | 32.09 | 15.25 | 47.34
020501610 | Partition removal, brick | Sf | 0 | 0.035 | 1.25 | 1 | 2.25
020501620 | Partition removal, wood with drywall | Sf | 0 | 0.04 | 1.43 | 1.15 | 2.58
020501650 | Wall removal, conc block | Sf | 0 | 0.035 | 1.25 | 1.15 | 2.4
020501680 | Demo, drywall | Sf | 0 | 0.032 | 1.14 | 0 | 1.14
020501690 | Demo, stucco or plaster wall | Sf | 0 | 0.042 | 1.5 | 0 | 1.5
020501730 | Roof demolition, wood shingles | Sf | 0 | 0.023 | 0.82 | 0.3 | 1.12
020501750 | Membrane roofing demo, 3-ply | Sf | 0 | 0.031 | 1.11 | 0.03 | 1.14
020501770 | Membrane roofing demo, 3-ply, with gravel | Sf | 0 | 0.035 | 1.25 | 0.03 | 1.28
020502110 | Concrete slab demo, 4 in, no reinforcement | Sy | 0 | 0.65 | 23.17 | 6.1 | 29.27
020502120 | Concrete slab demo, 4 in, with reinforcement | Sy | 0 | 0.95 | 33.87 | 6.1 | 39.97
02100 | SITE PREPARATION
021001120 | Clear and grub, light, with machine | Acre | 0 | 50 | 1600 | 1350 | 2950
021001130 | Clear and grub, medium, with machine | Acre | 0 | 70 | 2240 | 1950 | 4190
021001140 | Clear and grub, heavy, with machine | Acre | 0 | 85 | 2720 | 2575 | 5295
021001210 | Tree removal, 12" - 16" dia | Ea | 0 | 3 | 96 | 16.5 | 112.5
021001220 | Tree stump removal, 12" - 16" dia | Ea | 0 | 2 | 64 | 13 | 77
02200 | EARTHWORK
022001000 | Excavation work, minimum charge | Lot | 0 | 5 | 160 | 325 | 485
022001010 | Foundation excavation | Cy | 0 | 0.28 | 8.96 | 5.6 | 14.56
022001020 | Foundation backfill and compaction | Cy | 0 | 0.21 | 6.72 | 6.25 | 12.97
022001110 | Hand excavation, medium soil | Cy | 0 | 1.75 | 56 | 0 | 56
022001120 | Hand backfill, medium soil | Cy | 0 | 0.6 | 19.2 | 0 | 19.2
022001210 | Grading, rough | Acre | 0 | 4.5 | 144 | 135 | 279
022001220 | Grading, fine | Acre | 0 | 6.5 | 208 | 160 | 368
022001410 | Utility trench excavation, 1-1/2' deep, medium soil | Lf | 0 | 0.008 | 0.26 | 0.22 | 0.48
022001420 | Utility trench excavation, 1-1/2' deep, hard soil | Lf | 0 | 0.01 | 0.32 | 0.28 | 0.6
022001430 | Utility trench backfill, 1-1/2' deep | Lf | 0 | 0.006 | 0.19 | 0.23 | 0.42
022001510 | Utility trench excavation, 3' deep, medium soil | Lf | 0 | 0.011 | 0.35 | 0.3 | 0.65
022001520 | Utility trench excavation, 3' deep, hard soil | Lf | 0 | 0.015 | 0.48 | 0.35 | 0.83
022001530 | Utility trench backfill, 3' deep | Lf | 0 | 0.007 | 0.22 | 0.3 | 0.52
022001610 | Pipe trench excavation, 2' deep, medium soil | Lf | 0 | 0.017 | 0.54 | 0.35 | 0.89
022001620 | Pipe trench excavation, 2' deep, hard soil | Lf | 0 | 0.024 | 0.77 | 0.38 | 1.15
022001630 | Pipe trench backfill, 2' deep | Lf | 0 | 0.008 | 0.26 | 0.3 | 0.56
022003110 | Area excavation, 1-1/2' deep, medium soil | Sf | 0 | 0.007 | 0.22 | 0.1 | 0.32
022003120 | Area excavation, 1-1/2' deep, hard soil | Sf | 0 | 0.009 | 0.29 | 0.25 | 0.54
022003130 | Area backfill, 1-1/2' deep | Sf | 0 | 0.005 | 0.16 | 0.08 | 0.24
022003210 | Area excavation, 3' deep, medium soil | Sf | 0 | 0.011 | 0.35 | 0.3 | 0.65
022003220 | Area excavation, 3' deep, hard soil | Sf | 0 | 0.014 | 0.45 | 0.35 | 0.8
022003230 | Area backfill, 3' deep | Sf | 0 | 0.007 | 0.22 | 0.07 | 0.29
022003310 | Area excavation, 7' deep, medium soil | Sf | 0 | 0.026 | 0.83 | 0.09 | 0.92
022003320 | Area excavation, 7' deep, hard soil | Sf | 0 | 0.031 | 0.99 | 0.85 | 1.84
022003330 | Area backfill, 7' deep | Sf | 0 | 0.015 | 0.48 | 0.32 | 0.8
022003410 | Footing excavation, 4' deep, medium soil | Lf | 0 | 0.025 | 0.8 | 0.7 | 1.5
022003420 | Footing excavation, 4' deep, hard soil | Lf | 0 | 0.032 | 1.02 | 0.75 | 1.77
022003430 | Footing backfill, 4' deep | Lf | 0 | 0.012 | 0.38 | 0.35 | 0.73
022003510 | Footing excavation, 6' deep, medium soil | Lf | 0 | 0.034 | 1.09 | 0.8 | 1.89
022003520 | Footing excavation, 6' deep, hard soil | Lf | 0 | 0.045 | 1.44 | 1.1 | 2.54
022003530 | Footing backfill, 6' deep | Lf | 0 | 0.02 | 0.64 | 0.37 | 1.01
02600 | PIPED UTILITY MATERIALS
026001150 | Cast iron pipe, 4 in dia | Lf | 14 | 0.06 | 3.2 | 0.7 | 17.9
026001160 | Cast iron pipe, 6 in dia | Lf | 17.5 | 0.08 | 4.26 | 0.75 | 22.51
026001210 | Ductile iron pipe, 4 in dia | Lf | 15 | 0.13 | 6.92 | 1.5 | 23.42
026001220 | Ductile iron pipe, 6 in dia | Lf | 22.5 | 0.16 | 8.52 | 1.65 | 32.67
026001280 | Reinforced concrete pipe, 18" dia | Lf | 20.5 | 0.25 | 13.31 | 2.5 | 36.31
026001310 | Corrugated metal, galvanized, 10 in dia | Lf | 13 | 0.1 | 5.33 | 1.65 | 19.98
026001350 | PVC sewer pipe, 4 in dia | Lf | 13 | 0.04 | 2.13 | 0.35 | 15.48
026001360 | PVC sewer pipe, 6 in dia | Lf | 2.95 | 0.05 | 2.66 | 0.4 | 6.01
026001370 | PVC sewer pipe, 10 in dia | Lf | 6.5 | 0.06 | 3.2 | 0.65 | 10.35
026001410 | PVC water pipe, 2" dia | Lf | 0.8 | 0.035 | 1.86 | 0.32 | 2.98
026001420 | PVC water pipe, 4" dia | Lf | 2 | 0.07 | 3.73 | 0.52 | 6.25
026001510 | Vitrified clay pipe, 4" dia | Lf | 5 | 0.07 | 3.73 | 0.52 | 9.25
026001520 | Vitrified clay pipe, 6" dia | Lf | 10.5 | 0.16 | 8.52 | 0.75 | 19.77
026001610 | Drainage pipe, ABS, 4" dia | Lf | 1 | 0.06 | 3.2 | 0 | 4.2
026001620 | Drainage pipe, ABS, 6" dia | Lf | 2 | 0.07 | 3.73 | 0 | 5.73
02800 | SITE IMPROVEMENTS
028001110 | Chain link fence, 6 ft high | Lf | 11 | 0.1 | 5.33 | 0.32 | 16.65
028001120 | Gate, with posts, 3 ft wide, 6 ft high | Ea | 120 | 3 | 159.75 | 6.7 | 286.45

## Insulation
Costcode | Description | Unit | MATERIAL$/Unit | Labor Hrs/Unit | LABOR $/Unit | OTHER $/Unit | TOTAL $/Unit
INSULATION & DAMPPROOFING
07150 | DAMPPROOFING & WATERPROOFING
071501120 | Hot mop dampproofing, 2-ply | Sf | 0 | 0 | 0 | 1.4 | 1.4
071501140 | Hot mop dampproofing, 3-ply | Sf | 0 | 0 | 0 | 1.7 | 1.7
071501150 | Hot mop dampproofing, 2-ply, fiberboard | Sf | 0 | 0 | 0 | 2.25 | 2.25
071502130 | Asphalt emulsion, brushed, 1 coat | Sf | 0.07 | 0.012 | 0.64 | 0 | 0.71
071502140 | Asphalt emulsion, brushed, 2 coats | Sf | 0.12 | 0.019 | 1.01 | 0 | 1.13
071502170 | Silicone dampproofing | Sf | 0.95 | 0.005 | 0.27 | 0 | 1.22
071502180 | Neoprene membrane 35 mil | Sf | 2.95 | 0.02 | 1.07 | 0 | 4.02
071502190 | Neoprene membrane 45 mil | Sf | 3.7 | 0.02 | 1.07 | 0 | 4.77
071503120 | Acrylic rubber coating 65 mil | Sf | 2.95 | 0.016 | 0.85 | 0 | 3.8
071503150 | Nylon sheeting, 45 mil | Sf | 1.9 | 0.016 | 0.85 | 0 | 2.75
071503160 | Nylon sheeting, 65 mil | Sf | 2.4 | 0.018 | 0.96 | 0 | 3.36
071503210 | PVC Sheeting 10 mil | Sf | 0.27 | 0.016 | 0.85 | 0 | 1.12
071503220 | PVC Sheeting 20 mil | Sf | 0.32 | 0.016 | 0.85 | 0 | 1.17
071503230 | PVC Sheeting 30 mil | Sf | 0.42 | 0.016 | 0.85 | 0 | 1.27
071503510 | Asphalt coated hardboard 1/8" | Sf | 0.5 | 0.02 | 1.07 | 0 | 1.57
071503560 | Asphalt coated hardboard 1/4" | Sf | 0.85 | 0.022 | 1.17 | 0 | 2.02
071503590 | Fiberglass fabric | Sf | 0.25 | 0.002 | 0.11 | 0 | 0.36
071503710 | Felt, 1 ply waterproofing | Sf | 0.3 | 0.01 | 0.53 | 0.13 | 0.96
071503730 | Felt, 2 ply waterproofing | Sf | 0.42 | 0.012 | 0.64 | 0.16 | 1.22
071503750 | Felt, 3 ply waterproofing | Sf | 0.65 | 0.014 | 0.75 | 0.25 | 1.65
071504110 | Urethane coating | Sf | 1.35 | 0.05 | 2.66 | 0 | 4.01
071504150 | Cement coating | Sf | 2.35 | 0.015 | 0.8 | 0.05 | 3.2
071504710 | Bentonite, panel waterproofing | Sf | 1.7 | 0.008 | 0.43 | 0.05 | 2.18
071504750 | Bentonite, sheet waterproofing | Sf | 1.9 | 0.01 | 0.53 | 0.05 | 2.48
071505120 | Water repellent, silicone based, 1 coat | Sf | 0.45 | 0.001 | 0.05 | 0.05 | 0.55
071505150 | Water repellent, silicone based, 2 coats | Sf | 0.85 | 0.001 | 0.05 | 0.05 | 0.95
07190 | VAPOR BARRIERS AND RETARDERS
071901210 | Asphalt felt sheathing | Sf | 0.05 | 0.002 | 0.11 | 0 | 0.16
071902120 | Building wrap, tyvek, light | Sf | 0.08 | 0.002 | 0.11 | 0 | 0.19
071902150 | Building wrap, tyvek, heavy | Sf | 0.1 | 0.002 | 0.11 | 0 | 0.21
071903120 | Building wrap, polyethylene, light | Sf | 0.03 | 0.002 | 0.11 | 0 | 0.14
071903150 | Building wrap, polyethylene, medium | Sf | 0.05 | 0.002 | 0.11 | 0 | 0.16
071903170 | Building wrap, polyethylene, heavy | Sf | 0.09 | 0.002 | 0.11 | 0 | 0.2
07210 | BUILDING INSULATION
072102110 | Batt insulation, 3-1/2", kraft face, R-11 | Sf | 0.45 | 0.008 | 0.43 | 0 | 0.88
072102120 | Batt insulation, 6", kraft face, R-19 | Sf | 0.65 | 0.01 | 0.53 | 0 | 1.18
072102130 | Batt insulation, 9", kraft face, R-30 | Sf | 1.35 | 0.012 | 0.64 | 0 | 1.99
072102210 | Batt insulation, 3-1/2", foil face, R-11 | Sf | 0.55 | 0.008 | 0.43 | 0 | 0.98
072102220 | Batt insulation, 6", foil face, R-19 | Sf | 0.85 | 0.01 | 0.53 | 0 | 1.38
072102230 | Batt insulation, 9", foil face, R-30 | Sf | 1.45 | 0.012 | 0.64 | 0 | 2.09
072102350 | Wall insulation, perlite, 1" thick | Sf | 0.42 | 0.007 | 0.37 | 0 | 0.79
072102370 | Wall insulation, perlite, 2" thick | Sf | 0.7 | 0.008 | 0.43 | 0 | 1.13
072102420 | Wall insulation, fiberglass, light, 1" | Sf | 0.5 | 0.006 | 0.32 | 0 | 0.82
072102440 | Wall insulation, fiberglass, light, 2" | Sf | 0.65 | 0.007 | 0.37 | 0 | 1.02
072102460 | Wall insulation, fiberglass, light, 3" | Sf | 0.85 | 0.008 | 0.43 | 0 | 1.28
072103120 | Wall insulation,fiberglass, medium, 1" | Sf | 0.65 | 0.006 | 0.32 | 0 | 0.97
072103140 | Wall insulation, fiberglass, medium, 2" | Sf | 1.2 | 0.007 | 0.37 | 0 | 1.57
072103160 | Wall insulation, fiberglass, medium, 3" | Sf | 1.9 | 0.008 | 0.43 | 0 | 2.33
072103410 | Wall insulation, fiberglass, heavy, 1" | Sf | 1.35 | 0.007 | 0.37 | 0 | 1.72
072103430 | Wall insulation, fiberglass, heavy, 2" | Sf | 2.45 | 0.008 | 0.43 | 0 | 2.88
072103450 | Wall insulation, fiberglass, heavy, 3" | Sf | 3.2 | 0.009 | 0.48 | 0 | 3.68
072104410 | Blown fiberglass insulation, 5" thick, R-11 | Sf | 0.42 | 0.008 | 0.43 | 0 | 0.85
072104420 | Blown fiberglass insulation, 6" thick, R-13 | Sf | 0.42 | 0.009 | 0.48 | 0 | 0.9
072104430 | Blown fiberglass insulation, 9" thick, R-19 | Sf | 0.5 | 0.012 | 0.64 | 0 | 1.14
072104440 | Blown fiberglass insulation, 12" thick, R-26 | Sf | 0.85 | 0.013 | 0.69 | 0 | 1.54
072104510 | Polystyrene sprayed, 1" thick, R-6 | Sf | 0.9 | 0.008 | 0.43 | 0 | 1.33
072104520 | Polystyrene sprayed, 2" thick, R-11 | Sf | 1.75 | 0.012 | 0.64 | 0 | 2.39
07220 | ROOF AND DECK INSULATION
072201130 | Roof insulation, fiberglass board, 3/4" | Sf | 0.6 | 0.007 | 0.37 | 0 | 0.97
072201150 | Roof insulation, fiberglass board, 1-1/8" | Sf | 0.7 | 0.008 | 0.43 | 0 | 1.13
072201170 | Roof insulation, fiberglass board, 1-5/16" | Sf | 1.05 | 0.009 | 0.48 | 0 | 1.53
072201190 | Roof insulation, fiberglass board, 2-1/16" | Sf | 1.4 | 0.01 | 0.53 | 0 | 1.93
072201230 | Roof insulation, composition board, 1-1/2" | Sf | 1.35 | 0.008 | 0.43 | 0 | 1.78
072201250 | Roof insulation, composition board, 2" | Sf | 2.5 | 0.01 | 0.53 | 0 | 3.03
072201270 | Roof insulation, composition board, 2-1/2" | Sf | 3.55 | 0.012 | 0.64 | 0 | 4.19
072202110 | Roof insulation, perlite board, 1/2" | Sf | 0.5 | 0.007 | 0.37 | 0 | 0.87
072202120 | Roof insulation, perlite board, 1" | Sf | 0.6 | 0.007 | 0.37 | 0 | 0.97
072202130 | Roof insulation, perlite board, 1-1/2" | Sf | 0.95 | 0.008 | 0.43 | 0 | 1.38
072202140 | Roof insulation, perlite board, 2-1/2" | Sf | 1.55 | 0.009 | 0.48 | 0 | 2.03
072202150 | Roof insulation, perlite board, 4" | Sf | 2.45 | 0.012 | 0.64 | 0 | 3.09
072202410 | Roof insulation, urethane board, 3/4" | Sf | 0.6 | 0.005 | 0.27 | 0 | 0.87
072202430 | Roof insulation, urethane board, 1" | Sf | 0.85 | 0.005 | 0.27 | 0 | 1.12
072202450 | Roof insulation, urethane board, 1-1/2" | Sf | 1.2 | 0.006 | 0.32 | 0 | 1.52
072202470 | Roof insulation, urethane board, 2" | Sf | 1.5 | 0.007 | 0.37 | 0 | 1.87
072202510 | Roof insulation, polystyrene board, 1" | Sf | 0.6 | 0.006 | 0.32 | 0 | 0.92
072202530 | Roof insulation, polystyrene board, 1-1/2" | Sf | 1.75 | 0.007 | 0.37 | 0 | 2.12
072202550 | Roof insulation, polystyrene board, 2" | Sf | 0.9 | 0.008 | 0.43 | 0 | 1.18
07240 | EXTERIOR INSULATION
072401120 | Prefab insulation panels, 2" | Sf | 10.3 | 0.026 | 1.38 | 0 | 11.68
072401130 | Prefab insulation panels, 3" | Sf | 11.85 | 0.028 | 1.49 | 0 | 13.34
072401140 | Prefab insulation panels, 4" | Sf | 15 | 0.03 | 1.6 | 0 | 16.6
07250 | FIREPROOFING
072502110 | Spray-on fireproofing, decks, 1" | Sf | 1.45 | 0.1 | 5.33 | 0 | 6.78
072502130 | Spray-on fireproofing, decks, 1-1/2" | Sf | 1.9 | 0.012 | 0.64 | 0 | 2.54
072502150 | Spray-on fireproofing, on str members, 1" | Sf | 1.5 | 0.02 | 1.07 | 0 | 2.57
072502170 | Spray-on fireproofing, on str members, 1-1/2" | Sf | 2.15 | 0.022 | 1.17 | 0 | 3.32

## Roofing
Costcode | Description | Unit | MATERIAL$/Unit | Labor Hrs/Unit | LABOR $/Unit | OTHER $/Unit | TOTAL $/Unit
ROOF TILES, SHINGLES & COVERINGS
07310 | SHINGLES
073101210 | Roofing felt, 15# | Sf | 0.06 | 0.005 | 0.27 | 0 | 0.33
073101220 | Roofing felt, 30# | Sf | 0.12 | 0.006 | 0.32 | 0 | 0.44
073101250 | Asphalt shingles, 15-year | Sf | 1.05 | 0.014 | 0.75 | 0 | 1.8
073101260 | Asphalt shingles, 30-year | Sf | 1.25 | 0.016 | 0.85 | 0 | 2.1
073102110 | Aluminum shingles | Sf | 2.95 | 0.02 | 1.07 | 0 | 4.02
073102120 | Wood shingles, cedar, standard | Sf | 2.5 | 0.023 | 1.22 | 0 | 3.72
073102130 | Wood shingles, cedar, premium | Sf | 3 | 0.023 | 1.22 | 0 | 4.22
073102140 | Wood shakes, 1/2" thick | Sf | 1.9 | 0.032 | 1.7 | 0 | 3.6
073102150 | Wood shakes, 3/4" thick | Sf | 2.15 | 0.035 | 1.86 | 0 | 4.01
073102160 | Fiberglass shingles | Sf | 0.9 | 0.013 | 0.69 | 0 | 1.59
073103170 | Slate shingles | Sf | 9.5 | 0.05 | 2.66 | 0 | 12.16
073103180 | Fiber cement shingles | Sf | 3.55 | 0.038 | 2.02 | 0 | 5.57
07320 | ROOFING TILES
073204110 | Roofing tile, clay, standard | Sf | 4.15 | 0.03 | 1.6 | 0 | 5.75
073204210 | Roofing tile, clay, misson style | Sf | 3.2 | 0.03 | 1.6 | 0 | 4.8
073204310 | Roofing tile, clay, spanish style | Sf | 5.9 | 0.043 | 2.29 | 0 | 8.19
07410 | PREFORMED ROOF PANELS
074101120 | Corrugated fiberglass roofing | Sf | 4.3 | 0.03 | 1.6 | 0 | 5.9
074101210 | Corrugated galvanized roofing, 30 gauge | Sf | 2.75 | 0.026 | 1.38 | 0 | 4.13
074101220 | Corrugated galvanized roofing, 26 gauge | Sf | 3.2 | 0.029 | 1.54 | 0 | 4.74
074101230 | Corrugated galvanized roofing, 22 gauge | Sf | 3.35 | 0.032 | 1.7 | 0 | 5.05
074101310 | Ribbed steel roofing, 30 gauge | Sf | 2.6 | 0.026 | 1.38 | 0 | 3.98
074101340 | Ribbed steel roofing, 26 gauge | Sf | 2.85 | 0.029 | 1.54 | 0 | 4.39
074101360 | Ribbed steel roofing, 22 gauge | Sf | 3.05 | 0.032 | 1.7 | 0 | 4.75
074102110 | Copper roofing, 20 ounce | Sf | 10 | 0.09 | 4.79 | 0 | 14.79
074102210 | Lead roofing, 3 lbs. | Sf | 8.75 | 0.09 | 4.79 | 0 | 13.54
074102310 | Stainless steel roofing, 26 gauge | Sf | 9.95 | 0.08 | 4.26 | 0 | 14.21
074103110 | Corrugated aluminum roofing, 0.02" | Sf | 3 | 0.025 | 1.33 | 0 | 4.33
074103130 | Corrugated aluminum roofing, 0.03" | Sf | 4.35 | 0.025 | 1.33 | 0 | 5.68
074103150 | Corrugated aluminum roofing, 0.05" | Sf | 5.05 | 0.03 | 1.6 | 0 | 6.65
07460 | PREFORMED CLADDING AND SIDING
074601120 | Corrugated fiberglass siding | Sf | 4.3 | 0.05 | 2.66 | 0 | 6.96
074601150 | Corrugated galvanized siding, 30 gauge | Sf | 2.75 | 0.038 | 2.02 | 0 | 4.77
074601160 | Corrugated galvanized siding, 26 gauge | Sf | 3.2 | 0.042 | 2.24 | 0 | 5.44
074601170 | Corrugated galvanized siding, 22 gauge | Sf | 3.35 | 0.047 | 2.5 | 0 | 5.85
074602120 | Ribbed steel siding, 30 gauge | Sf | 2.6 | 0.038 | 2.02 | 0 | 4.62
074602140 | Ribbed steel siding, 26 gauge | Sf | 2.85 | 0.042 | 2.24 | 0 | 5.09
074602160 | Ribbed steel siding, 22 gauge | Sf | 3.05 | 0.047 | 2.5 | 0 | 5.55
074604210 | Corrugated aluminum siding | Sf | 3.35 | 0.045 | 2.4 | 0 | 5.75
074605120 | Vinyl siding | Sf | 1.2 | 0.03 | 1.6 | 0 | 2.8
074605220 | Fiber cement siding | Sf | 2.35 | 0.03 | 1.6 | 0 | 3.95
074606120 | Wood siding, beveled, cedar | Sf | 3.8 | 0.04 | 2.13 | 0 | 5.93
074606140 | Wood siding, board and batten, cedar | Sf | 4.25 | 0.04 | 2.13 | 0 | 6.38
074606160 | Wood siding, tongue and groove, cedar | Sf | 5.1 | 0.05 | 2.66 | 0 | 7.76
074606250 | Shingle siding, cedar | Sf | 3.05 | 0.025 | 1.33 | 0 | 4.38
074606350 | Plywood siding, 5/8", cedar | Sf | 1.8 | 0.016 | 0.85 | 0 | 2.65
074606370 | Hardboard siding, cedar panels, 1/2" | Sf | 1.2 | 0.018 | 0.96 | 0 | 2.16
074607150 | Masonite panels, 1/2" | Sf | 2.45 | 0.02 | 1.07 | 0 | 3.52
07500 | MEMBRANE ROOFING
075001210 | Built-up roofing, base, 2-ply, gravel surface | Sf | 0.8 | 0.023 | 1.22 | 0.25 | 2.27
075001220 | Built-up roofing, base, 3-ply, gravel surface | Sf | 0.9 | 0.029 | 1.54 | 0.25 | 2.69
075001230 | Built-up roofing, base, 4-ply, gravel surface | Sf | 1.2 | 0.035 | 1.86 | 0.25 | 3.31
075001250 | Built-up roofing, fiberglass felt, base, 3-ply | Sf | 1.7 | 0.019 | 1.01 | 0.25 | 2.96
075002120 | Tarred asphalt felt, 15# | Sf | 2 | 0.002 | 0.11 | 0.03 | 2.14
075002140 | Tarred asphalt felt, 30# | Sf | 0.35 | 0.002 | 0.11 | 0.03 | 0.49
075002340 | Single-ply sheet EPDM, 45 mil | Sf | 1.7 | 0.012 | 0.64 | 0.25 | 2.59
075002370 | Single-ply sheet EPDM, 60 mil | Sf | 2.35 | 0.012 | 0.64 | 0.25 | 3.24
075003120 | Single-ply sheet PVC, 45 mil | Sf | 1.8 | 0.012 | 0.64 | 0.25 | 2.69
075003140 | Single-ply sheet PVC, 60 mil | Sf | 2.7 | 0.012 | 0.64 | 0.25 | 3.59
075004120 | Neoprene roofing, 60 mil | Sf | 5.3 | 0.08 | 4.26 | 0.75 | 10.31
075005120 | Roll roofing, 90 lb mineral surfacing | Sf | 0.7 | 0.004 | 0.21 | 0.03 | 0.94
07560 | ROOF MAINTENANCE AND REPAIR
075601100 | Minimum charge for roof repair work | Lot | 84.75 | 1.25 | 66.56 | 0 | 151.31
075601210 | Patch and repair built-up roof | Sf | 3.75 | 0.2 | 10.65 | 0 | 14.4
075601230 | Repair shake roof | Sf | 4 | 0.22 | 11.72 | 0 | 15.72
075601260 | Repair tile roof | Sf | 14 | 0.35 | 18.64 | 0 | 32.64
07600 | FLASHING AND SHEET METAL
076001250 | Fascia, sheet metal, prefinished | Sf | 4.25 | 0.09 | 4.79 | 0 | 9.04
076002110 | Counter flashing, aluminum | Lf | 3.75 | 0.08 | 4.26 | 0 | 8.01
076002120 | Reglet flashing, aluminum | Lf | 2.6 | 0.07 | 3.73 | 0 | 6.33
076002130 | Valley flashing, aluminum | Lf | 3.55 | 0.08 | 4.26 | 0 | 7.81
076002140 | Base flashing, aluminum | Lf | 5 | 0.07 | 3.73 | 0 | 8.73
076002150 | Gravel stop, 6", aluminum | Lf | 5.4 | 0.065 | 3.46 | 0 | 8.86
076002160 | Neoprene gasket, aluminum | Lf | 1.55 | 0.04 | 2.13 | 0 | 3.68
076003110 | Counter flashing, copper | Lf | 9.85 | 0.08 | 4.26 | 0 | 14.11
076003120 | Reglet flashing, copper | Lf | 7.25 | 0.07 | 3.73 | 0 | 10.98
076003130 | Valley flashing, copper | Lf | 8.25 | 0.09 | 4.79 | 0 | 13.04
076003140 | Base flashing, copper | Lf | 10 | 0.07 | 3.73 | 0 | 13.73
076003150 | Gravel stop, 6", copper | Lf | 12.75 | 0.09 | 4.79 | 0 | 17.54
076003160 | Neoprene gasket, copper | Lf | 1.7 | 0.04 | 2.13 | 0 | 3.83
076004110 | Counter flashing, galv. steel | Lf | 2 | 0.06 | 3.2 | 0 | 5.2
076004120 | Reglet flashing, galv. steel | Lf | 1.35 | 0.06 | 3.2 | 0 | 4.55
076004130 | Valley flashing, galv. steel | Lf | 2.45 | 0.07 | 3.73 | 0 | 6.18
076004140 | Base flashing, galv. steel | Lf | 1.7 | 0.055 | 2.93 | 0 | 4.63
076004150 | Gravel stop, 6", galv. steel | Lf | 1.45 | 0.055 | 2.93 | 0 | 4.38
076004160 | Neoprene gasket, galv. steel | Lf | 1.3 | 0.03 | 1.6 | 0 | 2.9
076005110 | Counter flashing, stainless steel | Lf | 8.25 | 0.08 | 4.26 | 0 | 12.51
076005120 | Reglet flashing, stainless steel | Lf | 6.7 | 0.07 | 3.73 | 0 | 10.43
076005130 | Valley flashing, stainless steel | Lf | 7.75 | 0.09 | 4.79 | 0 | 12.54
076005140 | Base flashing, stainless steel | Lf | 8.25 | 0.07 | 3.73 | 0 | 11.98
076005150 | Gravel stop, 6", stainless steel | Lf | 11.35 | 0.08 | 4.26 | 0 | 15.61
076006110 | Flashing, sheet lead, vent 4" pipe | Ea | 32.5 | 0.7 | 37.28 | 0 | 69.78
076006150 | Flashing, sheet lead, vent 6" pipe | Ea | 38.5 | 0.85 | 45.26 | 0 | 83.76

## Specialties
Costcode | Description | Unit | MATERIAL$/Unit | Labor Hrs/Unit | LABOR $/Unit | OTHER $/Unit | TOTAL $/Unit
SPECIALTIES & ACCESSORIES
07700 | ROOF SPECIALTIES AND ACCESSORIES
077001110 | Gutter, aluminum, 4" | Lf | 2.35 | 0.1 | 5.33 | 0 | 7.68
077001115 | Gutter, aluminum, 5" | Lf | 2.6 | 0.12 | 6.39 | 0 | 8.99
077001210 | Gutter, copper, 4" | Lf | 7.35 | 0.11 | 5.86 | 0 | 13.21
077001220 | Gutter, copper, 5" | Lf | 10.5 | 0.12 | 6.39 | 0 | 16.89
077001250 | Gutter, copper, half round section, 4" | Lf | 5.75 | 0.1 | 5.33 | 0 | 11.08
077001260 | Gutter, copper, half round section, 5" | Lf | 6.45 | 0.11 | 5.86 | 0 | 12.31
077002110 | Gutter, galv steel, box 4" | Lf | 1.55 | 0.1 | 5.33 | 0 | 6.88
077002120 | Gutter, galv steel, fascia 5" | Lf | 1.7 | 0.11 | 5.86 | 0 | 7.56
077002140 | Gutter, galv steel, fascia 6" | Lf | 1.85 | 0.11 | 5.86 | 0 | 7.71
077002550 | Gutter, stainless steel, box 4" | Lf | 8.5 | 0.14 | 7.46 | 0 | 15.96
077003120 | Downspout, aluminum, 2"x3" | Lf | 2.1 | 0.09 | 4.79 | 0 | 6.89
077003130 | Downspout, aluminum, 3"x4" | Lf | 2.6 | 0.1 | 5.33 | 0 | 7.93
077003150 | Downspout, aluminum, 3" dia | Lf | 2.1 | 0.09 | 4.79 | 0 | 6.89
077003160 | Downspout, aluminum, 4" dia | Lf | 2.65 | 0.1 | 5.33 | 0 | 7.98
077004120 | Downspout, copper, 2"x3" | Lf | 7.1 | 0.1 | 5.33 | 0 | 12.43
077004130 | Downspout, copper, 3"x4" | Lf | 11 | 0.1 | 5.33 | 0 | 16.33
077004140 | Downspout, copper, 3" dia | Lf | 6.1 | 0.1 | 5.33 | 0 | 11.43
077004150 | Downspout, copper, 4" dia | Lf | 6.45 | 0.11 | 5.86 | 0 | 12.31
077004160 | Downspout, copper, 5" dia | Lf | 7.65 | 0.11 | 5.86 | 0 | 13.51
077005210 | Downspout, galv steel, 2"x3" | Lf | 1.7 | 0.08 | 4.26 | 0 | 5.96
077005220 | Downspout, galv steel, 3"x4" | Lf | 2.1 | 0.08 | 4.26 | 0 | 6.36
077005230 | Downspout, galv steel, 4"x5" | Lf | 2.6 | 0.09 | 4.79 | 0 | 7.39
077005240 | Downspout, galv steel, 3" dia | Lf | 1.7 | 0.08 | 4.26 | 0 | 5.96
077005250 | Downspout, galv steel, 4" dia | Lf | 2 | 0.08 | 4.26 | 0 | 6.26
077005260 | Downspout, galv steel, 5" dia | Lf | 2.35 | 0.09 | 4.79 | 0 | 7.14
077203150 | Roof hatch, 30"x30" | Ea | 500 | 3 | 159.75 | 0 | 659.75
077203250 | Roof hatch, 36"x36" | Ea | 550 | 3.25 | 173.06 | 0 | 723.06
077203350 | Roof hatch, 36"x72" | Ea | 645 | 4 | 213 | 0 | 858
077204120 | Smoke vent, aluminum, 36" x 36" | Ea | 1325 | 4 | 213 | 0 | 1538
077204150 | Smoke vent, galv steel, 36" x 36" | Ea | 1225 | 4 | 213 | 0 | 1438
077205120 | Ventilator, wind powered, 12" dia | Ea | 140 | 1.75 | 93.19 | 0 | 233.19
077205150 | Ventilator, mushroom type, 240 CFM | Ea | 135 | 0.9 | 47.93 | 0 | 182.93
07800 | SKYLIGHTS
078001650 | Skylight, single, 4'x4' | Ea | 425 | 1.75 | 93.19 | 0 | 518.19
078001750 | Skylight, double, 4'x4' | Ea | 530 | 1.95 | 103.84 | 0 | 633.84
07900 | JOINT SEALERS
079001110 | Oil base caulking installed | Lf | 0.35 | 0.05 | 2.66 | 0 | 3.01
079001150 | Rubber sealant installed | Lf | 0.4 | 0.05 | 2.66 | 0 | 3.06
079001250 | Polyurethane, 2 part, installed | Lf | 0.5 | 0.04 | 2.13 | 0 | 2.63
079002120 | Acryic latex caulking, cartridge | Ea | 3.35 | 0 | 0 | 0 | 3.35
079002520 | Silicone sealant, cartridge | Ea | 5.4 | 0 | 0 | 0 | 5.4

## Quote
QUOTE
<Work description>
1. Scope of Work. Contractor agrees to furnish all labor, services, materials, installation, supplies, insurance, equipment, tools and other facilities needed for the prompt and efficient execution of the work described herein in a professional manner.
2. Quote Amount. Owner agrees to pay Contractor for the strict performance of his work, the sum as indicated above subject to additions and deductions for changes in the scope of work as may be subsequently agreed upon.
3. Payment Schedule. Owner agrees to pay Contractor in progress payments as follows:
Payment #1 - Upon start of project.
Payment #2 - Upon 40% completion.
Payment #3 - Upon 60% completion.
Payment #4 - Upon 80% completion.
Payment #5 - Upon 100% completion.
4. Work Schedule. Contractor shall complete the work as required by the work schedule prepared by the Contractor, which is agreed to be no more than:
<90 days>
from the start date of the project. Work schedule may be amended based on additional work inclusions and deductions and by agreement between the Owner and Contractor.
The parties hereto have executed this Agreement for themselves, their heirs, executors, successors, administrators, and assignees on the day and year written below.
Signed By:
Contractor
Accepted By:
Owner